# NAG 4

## TIKOKINO SCHOOL

## PROPERTY

### PROCEDURE – Water Testing

GUIDELINES:

- Testing will be completed by the approved laboratory of:

Watertesting Hawke’s Bay, Stortford Lodge, Hastings 4120.

Contact: Nessie Valler 	Telephone 06 870 6449

Email: Nessie@watertestingHB.co.nz

- Testing needs to be completed for presence / absence of coliforms, faecal and total

- Results of tests to be retained by the school, but filed online at http://abc.argest.com .

Then enter our school’s unique login and password:

Once logged on, the schools results can be entered. If an queries, please call 0800 274 378 (ARGEST)

- Where excess coliforms are present, action should be taken under advice from the Health Protection Officer – 06) 834 1815.

- Process for obtaining sample is as follows:

  - A different tap is to be used with each sample

  - Using a clean cloth or paper the outlet is cleaned to remove any dirt

  - The tap is to be run for at least 1 minute prior to taking the sample

  - The supplied container is to be filled leaving an air space of 2 to 3 cm at the top of the bottle for the sample to be mixed in the laboratory

  - The container is then sealed and the packed in the ice packs supplied in the chilly bin.

    - Ice packs can be stored dry

    - Prior to use, soak the ice pack in water to swell, then freeze.

  - The chilly bin containing the sample is delivered to NZ Laboratory and the chilly bin is then returned, by the tester, to the school.

- A water sample will be taken from the source prior to treatment every fifth year afterwards to check if there is any change in the raw water quality. This is next due in 2020.

This water sample will be sent to Hill’s Laboratories 07 858 2000.